Electrical Stimulation

Electrical stimulation is one of the oldest and most effective modalities used in physical therapy. Nowadays, the wide variety of electrical stimulators has a single common purpose; the stimulation of tissue for therapeutic purposes. These tissues may be a muscle to relax or contract, a nerve to produce analgesia or a bone to enhance growth. As nerve stimulation differs greatly from muscle stimulation, many types of electrical stimulation can be defined as:

- Neuromuscular stimulation (NMS).

- Electrical muscle stimulation (EMS).

- Functional electrical stimulation (FES).

- Transcutaneous electrical nerve stimulation (TENS).

Physiologic responses to EMS:

- Contraction of muscle.

- Relaxation of muscle spasm.

- Increase of endorphins production.

- Increase of fiber recruitment.

- Stimulation of circulation.

- Enhancement of reticulo-endothelial response to clear waste products.

Indications to EMS:

Generally, electrical stimulation is employed to provide exercise pattern when patients are unable to perform voluntarily due to:

- Pain.

- Restriction of joint motion.

- Dysfunction of the neuromuscular system.

- Weakness or disuse atrophy.

Contraindications:

- Fresh fractures to avoid unwanted movements.

- Active hemorrhage.

- Phlebitis.

- Demand-type pacemaker.

Equipment:

- Generators:

The electrical generators, utilized for clinical electrical stimulation, are of many types:

* Traditional low-voltage current generators, less than 100 volts, under 1 Hz.

* High-voltage direct current generators, utilizing the extremely short-duration pulse to increase penetration, in the range of 300 to 500 volts.

* Interferential current generators, in the range of 4000 to 4100 Hz, with a net frequency in the interference zone of 80 to 100 Hz. Power is in the low-voltage range.

* TENS units, used for nerve stimulation, utilizing frequencies in the range of 1 to 120 Hz, pulse width from 50 to 300 msec. with a medium range amplitude of 10 to 50 mA.

* Medium-frequency generators, designed to utilize specific frequencies in the range of 2400 to 2500 Hz (Russian type), being very effective in management of athletic injuries.

* Subliminal generators, utilizing stimulation at a non-sensory level to pinpoint targets (trigger or acupuncture points).

* Programmed units, utilized for home use, with variable parameter selection and monitoring facilities.

- Electrodes:

Electrode types:

- Commercial pads and rubber-backed electrodes, with a variety of connecting mechanisms.

- Moistened paper towels, with aluminum foil plates, which necessitate alligator clips for connecting them to leads.

- Sponge types, with inserted electrodes and rubber carriers.

- Carbonized, rubber electrodes (TENS), which require transmission gel.

- Copper-tipped, utilized for internal administration (intra-vaginal).

Electrode dimensions:

Great variation is found among electrode sizes, depending on the treatment technique and the current configuration:

- Equal sizes: For equal distribution of current.

- Differential sizes: For current shaping.

- Special instruments: For internal administration.

Electrode tips:

- Alligator tip: For aluminum plate connections.

- Banana tip: For standard receptacles.

- Telephone tip: For pin-receptors.

- Snap tip: For button-type connections.

- Securing devices:

These devices are needed to prevent movement of the electrodes during treatment. They have to be of an insulating material coverage to prevent current conduction on their surfaces.

- Soft-rubber sandbags.

- Lightweight sandbags.

- Adhesive tapes.

- Velcro bands.

- Adhesive gels.

- Currents:

- Alternating current:

This type of current offers alternating polarity as it changes from positive to negative and vice-versa many times per second. When the alternating phases are smooth and equal in energy, they are often referred to as sine waves. It is a comfortable waveform, being generally applied to neuromuscular components with no reaction of degeneration (RD).

- Direct or galvanic current:

It represents a constant electron flow from the negative to the positive electrode with no alterations (with constant polarity).

* Continuous direct current: This type of direct current is used only for iontophoresis.

* Interrupted (pulsed) direct current: It was utilized in the past for stimulation of neuromuscular components with RD, as the ability to respond to alternating current has been lost. Nowadays, it is not used due to its adverse effects on muscle fibers being stimulated.

* Surged direct current: This type also is not used today because of its slow wave rise, which leads to tissue accommodation, resulting in minimal or no contraction.

- Faradic current:

Faradic current can be used safely with neuromuscular tissues with no RD. It resembles the alternating current in most characteristics, but somewhat greater in irritation level.

- Interferential current:

The interferential current is considered unique in that it forms a combination of two high-frequency waveforms (4000 and 4100 Hz) in a crossed pattern. The net frequency, resulting from cancellation / reinforcement phenomena near or at the crossing point, equals to 100 Hz. Its concept is attributed to the penetrating quality of the higher frequencies / shorter pulse width in reaching deeper tissues. This current does not usually produce visible contractions, unless applied in high amplitudes.

- High voltage-pulsed galvanic current:

Electrical stimulation, to be effective in increasing muscle strength, it should produce strong tetanic muscular contraction, with a low pain response. Thus, the characteristics for an electric pulse utilized should be modified to minimize pain and discomfort by altering its waveform, duration, frequency and intensity. It was found that the slow rising pulses have the advantage of minimizing pain and discomfort. Recently, high voltage-pulsed galvanic current (HVPC) with its short duration and deep penetration, compared to other low-voltage currents, might provide effective means of stimulating muscles in order to increase strength. The term pulsed is crucial as it prevents from thinking the current to be a continuous direct current (galvanic current), which can be substantiated by the obvious difference in waveforms. The high voltage generators are unique in their characteristics as they produce over 150 voltage, which may reach 500 volts, with a short duration (less than 100 msec), a high peak (up to 2 amperes) and a low average current (less than 150 mA). Its waveform has a twin-peaked pulse, with 40-80 msec spacing between pulses.

- Modes:

Each of the previously mentioned forms of current may be administered in three major modes:

- Continuous mode: If its rate (frequency) exceeds 50 Hz, it is then becoming tetanizing, being used for relaxation of muscle spasm.

- Surged mode: In the surged mode, the maximum current intensity can be reached in microseconds or milliseconds. Slow surges (5 to 10 per minute) can stimulate slow fibers.

- Interrupted or pulsed mode: The alternating current when interrupted sharply reaches peak intensity immediately, causing a brisk response in the muscle, being suitable for stimulation of fast fibers. Interruption at higher rates exceeding 50 Hz causes a tetanic type of contraction.

- Wave forms:

- Sine wave: It usually offers equal energy levels under positive and negative phases.

- Rectangular (square) wave: This form of wave describes usually the direct current with a rapid instantaneous rise, prolonged duration and a sharp drop-off.

- Spike wave: During such a waveform, the rise rate is rapid but not instantaneous, falling back rapidly to zero immediately after reaching the maximum.

- Combined waves: It resembles a combination form of both rectangular (square) and spike waves.

- Twin-spiked forms: With this waveform, more penetration is administered because of the extremely short-pulse width (microseconds), as in high-voltage galvanic stimulation.

Parameters of EMS:

- Frequency (Pulse rate):

The high frequency of 80 to 120 Hz is recommended for acute conditions, when pain still presents. The resulting normal tetanizing rate elicits smooth contraction, affecting relaxation of muscle spasm. Reversely, the low frequency of 1 to 20 Hz is recommended for chronic conditions, as lower frequencies appear to simulate endorphin production; and hence produce analgesia.

- Duration (pulse width):

In most available equipment, today it ranges from 50 to over 500 msec. A medium width of 150 msec is most preferable, with suitable adjustment in either direction when needed. When pulse width is increased, an apparent increase in the strength of the stimulating current is noted as the current, in such a case, is “on” for a longer period.

- Amplitude (intensity):

During electrically stimulating a muscle, the visible contraction at patient’s tolerance is the recommended clinical guide. An exception to this rule appears with interferential current, as it is too deep and localized to be seen or felt by the physical therapist. Hence, patient's sensation can be utilized as a guide, provided that no sensory disturbance exists.

- Modulation:

Modulation of current is often used with long-term applications of TENS for pain control. The main goal of modulation, whether in frequency, duration or amplitude, is to reduce accommodation (body adaptation to the passing current).

- Burst phenomenon:

The burst mode is utilized for muscle stimulation techniques as well as for TENS use. Its benefit arises from its resemblance to the interrupted mode, proven to be better for muscle stimulation.

Treatment procedures:

1. Preparation of the patient:

- The skin in the area of electrode placement should be cleaned thoroughly.

- Special gels, sprays or water is applied to the skin as a condition medium for better stimulation.

- Electrodes should be fixed in position, using mending tapes to maintain good contact throughout the treatment period.

2. Electrode placement:

This is determined by the target muscle or muscle group, either single or in relation to other muscles. Placement alternatives recommended are:

- Unilateral: Unilateral placement often causes stimulation of one limb or one half of a muscle pair.

- Bilateral: It allows the stimulation of both limbs or both halves of a muscle pair.

- Unipolar: The unipolar technique is usually termed motor point stimulation, in which the active (stimulating) electrode is placed on the target muscle, while the indifferent one is placed elsewhere.

- Bipolar: In such a technique, two electrodes are placed on the target muscle, close to origin / insertion.

- Bilateral unipolar: The electrodes are placed on each of two separate muscles or muscle groups.

- Reciprocal: In which an active electrode is placed on each of two separate muscles or muscle groups, either agonist / antagonist or bilaterally, with the indifferent electrode placed elsewhere as in uniploar technique.

- Interferential: As a minimum of four electrodes is necessitated, they should be placed in a crossed pattern over the target area, approximately 4 to 6 inches apart. This cruciate pattern may be three-dimensional (medial / lateral / posterior), as with the knee or shoulder joints.

- Trans-arthral: The electrodes are placed on both sides of the target joint. It should be clear in mind that the current does not pass across the joint, but instead flows around the joint between electrodes.

3. Adjustment of parameters:

It is discussed previously (frequency, duration and amplitude).

4. Monitoring the treatment:

- Turn on the equipment with the amplitude is on the zero position.

- The amplitude (intensity) should be increased slowly and gradually until a visible or palpable contraction is seen or felt, except in case of interferential current, in which the patient's sensation is the clinical guide.

- Treatment continues to the pre-determined duration, with suitable adjustment of various parameters if needed.

- On termination of treatment, the intensity should be reduced slowly till the zero position again.